4)  Bidder shall complete the work in accordance with  the contract documents for the following Bid Amount:

| ITEM | UNIT PRICE ITEM | UNIT | APPROX. | PRICE PER | EXTENSION |
| --- | --- | --- | --- | --- | --- |
| NO. |  |  | NO. OF | UNIT |  |
|  |  |  | UNITS |  |  |
| 1 | 8-Inch PVC (or HDPE)Watermain (Installation by Horizontal Directional Drilling) | Foot | 1624 | $ | $ |
| 3 | 6-Inch PVC (or HDPE) Watermain (Installation by Horizontal Directional Drilling) | Foot | 1422 | $ | $ |
| 4 | 6-Inch PVC (or HDPE) Watermain (Installation by Open Cut) | Foot | 50 | $ | $ |
| 5 | Fire Hydrant with Auxiliary Valve and Box, Including 6-inch Connecting Piping to Main | Each | 11 | $ | $ |
| 6 | 5-foot Diameter Valve Vault with 8-inch Gate Valve | Each | 1 | $ | $ |
| 7 | 5-foot Diameter Valve Vault with 6-inch Gate Valve | Each | 1 | $ | $ |
| 8 | 5-foot Diameter Valve Vault with 8-inch x 6-inch Gate Valve | Each | 1 | $ | $ |
| 9 | 1-inch Water Service Reconnection - Near (Type K Copper Tube) to Existing Buffalo Box | Each | 10 | $ | $ |
| 10 | 1-inch Water Service Reconnection - Far (Type K Copper Tube) to Existing Buffalo Box | Each | 13 | $ | $ |
| 11 | 1-inch Water Service Connection to existing service stub (Type K Copper Tube) w/Buffalo Box Assembly | Each | 1 | $ | $ |
| 12 | 1-inch Water Service Connection to existing well service (Type K Copper Tube) w/Buffalo Box Assembly | Each | 4 | $ | $ |
| 13 | 1-1/2-inch Water Service Connection to existing well service (Type K Copper Tube) with Buffalo Box Assembly | Each | 1 | $ | $ |
| 14 | 2-inch Water Service Connection to existing well service (HDPE) with Buffalo Box Assembly - Far | Each | 2 | $ | $ |
| 15 | Existing Flushing Fire Hydrant and Auxiliary Valve Box Removal | Each | 3 | $ | $ |
| 16 | Existing Valve Box Removal | Each | 7 | $ | $ |
| 17 | 1-1/2-inch Bituminous Concrete Surface Course, Hot-Mix Asphalt (Roadway Removal & Replacement) | Square Yard | 120 | $ | $ |
| 18 | 2-inch Bituminous Concrete Binder Course, Hot-Mix Asphalt (Roadway Removal & Replacement) | Square Yard | 120 | $ | $ |
| 19 | 6-inch Bituminous Aggregate Mixture Patch (Roadway Removal & Replacement) | Square Yard | 120 | $ | $ |
| 20 | Concrete Driveway saw-cut, removal, and replacement. | Square Yard | 50 | $ | $ |
| 21 | Portable Sediment Containment System | Lump Sum | 1 | $ | $ |
| 22 | Earth Saw cut of Tree Roots as necessary | Lump Sum | 1 | $ | $ |
| 23 | Traffic control per Specification Section 01000 and as noted on the Contract Drawing | Lump Sum | 1 | $ | $ |
| 24 | Dust and Mud Control per Specification Section 01000 and as Directed by the Engineer | Lump Sum | 1 | $ | $ |
| 25 | Landscaping: Sodding, including 4-inch (min.) Topsoil and Watering (See Section 02485, 3.04) | Square Yard | 110 | $ | $ |
| 26 | Potholing (Exploratory Digging) to Locate Existing Underground Water Distribution Piping (per Owners Direction) | Each | 8 | $ | $ |
| 27 | Repair of Existing Watermain Leaks/Breaks not caused by Contractor's Negligence | Lump Sum | 1 | $ | $ |
| 28 | Pre-Construction Video | Lump Sum | 1 | $ | $ |
| 29 | Record Drawing Information | Lump Sum | 1 | $ | $ |

NOTES:

Note 1)	CONTRACT UNIT PRICES FOR WATERMAIN TO INCLUDE COST FOR LEAKAGE TESTING, DISINFECTION, ETC. AS APPLICABLE.

Note 2)	SEE SPECIFICATION SECTION 01025, “BID ITEMS” AND THE PLANS FOR WORK, MATERIALS, ETC. INCLUDED IN EACH BID ITEM.

Note 3)	FOR HORIZONTAL DIRECTIONAL DRILLED INSTALLATIONS (BID ITEM NO. 2), CONTRACTOR SHALL SELECT AND USE PIPE MATERIAL FROM SPECIFICATION SECTIONS 02617, 02618 OR 02619.

Note 4)	CONTRACTOR SHALL USE NO MORE THAN TWO DIFFERENT WATERMAIN PIPE MATERIALS ON ANY STREET.  ON ANY STREET THE CONTRACTOR MAY USE PUSH JOINT PVC PIPE (SPECIFICATION SECTION 02610) IN COMBINATION WITH ONE OTHER PIPE MATERIAL SPECIFIED IN NOTE 3 ABOVE.

Contractor shall provide unit prices and total cost and write in the total below .

TOTAL BID AMOUNT FOR THE DETERMINATION OF THE LOWEST BID

(Written)

($	 (Figures)